## Sheet1
Paradox ID | io_name
~EEPR #1 Rack B\Air Temp Valve 2 Measure | System Temp Rack B SGr1(13) B02
~RackA\Cnd\COP Measure | Cond Outlet Pressure Rack A
~RackA\Cnd\COP2COT Measure | Cond Saturation Rack A
~RackA\Cnd\DP Measure | Discharge Pressure Actual Rack A
~RackA\Cnd\Fan1 Measure | Cond Fan RUN Rack A 01
~RackA\Cnd\OAT Measure | Cond Inlet Air Temperature Rack A
~RackA\Cnd\Splt Measure | Cond Split Active Rack A
~RackA\SGr1\Cmp1\Run Measure | Comp RUN Rack A SGr1(-28) Comp 1
~RackA\SGr1\SP Measure | Suction Pressure Actual Rack A SGr1(-28)
~RackA\SGr1\SpStPt Measure | Suction Pressure Setpoint Rack A SGr1(-28)
~RackC\SGr1\Cmp1\SLA Measure | Comp SLA Rack A SGr1(13) Comp 1
~RackD\Cnd\DLT Measure | Cond Downleg Temp Rack A
A01 EEPR % Measure | Loads EEPR Rack A SGr1(-28) A01
Cond A Fan | Cond Fan Amps Rack A 01
Cond D Fan Out Temp Fan 1 | Cond Outlet Air Temperature Rack D
Discharge Temp Rack A | Discharge Tmp Rack A
Outside Humidity | Outside Humidity
Outside Temp | Outside Temp
Rack A Discharge Comp | Comp Discharge Temp Rack A SGr1(-28) Comp 1
Refrigerant Low SR Value RackA | Cond Subcooling Actual
SR Setpoint Rack A Measure | Cond Subcooling Setpoint
Store Humidity 2 Measure | Store Humidity
Store Temperature 2 Measure | Store Temp
Suction Temp -28 Rack A | Suction Temp Rack A SGr1(-28)