## Points
Variable Name | Type | FN 1 | KN 1 | FN 2 | KN 2 | FN 3 | KN 3 | FN 4 | KN 4
Comp Discharge Temp `%rackname` `%sgname` `%compname` | sensor |  | tba sensor
Comp RUN `%rackname` `%sgname` `%compname` | point | `%rackname` `%sgname` `%compname` Run Measure | ~RackA\SGr1\Cmp1\Run Measure |  | TC SG1 Run cmp1 A Measure
Comp SLA `%rackname` `%sgname` `%compname` | point | `%rackname` `%sgname` `%compname` SLA Measure | ~RackA\SGr1\Cmp1\SLA Measure |  | TC SG1 SLA cmp1 A Measure
Cond Fan Amps `%rackname` `%fannum` |  |  | to be added
Cond Fan RUN `%rackname` `%fannum` |  | `%rackname` Cnd `%fannum` Measure | ~RackB\Cnd\Fan1 Measure
Cond Out Pres Subcooling `%rackname` |  |  | tba
Cond Out Pressure Actual `%rackname` |  | `%rackname` Cnd COP Measure | ~RackB\Cnd\COP Measure
Cond Out Pressure Temp `%rackname` |  | `%rackname` Cnd DLT Measure | ~RackB\Cnd\DLT Measure
Cond Pressure Setpoint `%rackname` |  | `%rackname` Cnd CtrlStPt Command | ~RackB\Cnd\CtrlStPt Command
Cond Saturation `%rackname` |  | `%rackname` Cnd COP2COT Measure | ~RackB\Cnd\COP2COT Measure
Discharge Pressure Actual `%rackname` `%sgname` |  | `%rackname` Cnd COP Measure | ~RackA\Cnd\DP Measure
Discharge Pressure Setpoint `%rackname` `%sgname` |  | `%rackname` `%sgname` DpTripPt Command | ~RackA\SGr1\DpTripPt Command
Discharge Temp `%rackname` `%sgname` |  | Discharge Temp `%rackname` | Discharge Temp Rack A
Liquid Subcooling `%rackname` `%sgname` |  | Subcool `%rackname` Cond Subcooling Measure | ~Subcool Rack A\Cond Subcooling Measure
Liquid Temp `%rackname` `%sgname` |  | Subcool `%rackname` LQT Out - Subcooler 1 Measure | ~Subcool Rack A\LQT Out - Subcooler 1 Measure
Loads EEPR `%rackname` `%sgname` `%sysname` |  | `%rackname` `%sysname` EEPR % Measure | A01 EEPR % Measure
Loads Setpoint `%rackname` `%sgname` `%sysname` |  |  | ~EEPR #1 Rack A\Effect SetPt Valve 1 Measure
Loads Temp `%rackname` `%sgname` `%sysname` |  |  | ~EEPR #1 Rack A\Air Temp Valve 2 Measure
Outside Air Temp |  | Outside Air Temperature Measure | Outside Air Temperature Measure
Suction Pressure Actual `%rackname` `%sgname` |  | `%rackname` `%sgname` SP Measure | ~RackA\SGr1\SP Measure
Suction Pressure Setpoint `%rackname` `%sgname` |  | `%rackname` `%sgname` SpStPt Measure | ~RackA\SGr1\SpStPt Measure
Suction Temp `%rackname` `%sgname` |  | Suction Temp `%sgname` `%rackname` | Suction Temp -28 Rack A