## Sheet1
Paradox ID | IO Name
Rack A Discharge Comp | Comp Discharge Temp `%rackname` `%sgname` `%compname`
~RackA\SGr1\Cmp1\Run Measure | Comp RUN `%rackname` `%sgname` `%compname`
~RackC\SGr1\Cmp1\SLA Measure | Comp SLA `%rackname` `%sgname` `%compname`
Rack B VFD % Measure | Comp VFD Value `%rackname`
~RackD\Cnd\DLT Measure | Cond Downleg Temp `%rackname`
Cond A Fan | Cond Fan Amps `%rackname` `%fannum`
~RackA\Cnd\Fan1 Measure | Cond Fan RUN `%rackname` `%fannum`
~RackA\Cnd\OAT Measure | Cond Inlet Air Temperature `%rackname`
Cond D Fan Out Temp Fan 1 | Cond Outlet Air Temperature `%rackname`
~RackA\Cnd\COP Measure | Cond Outlet Pressure `%rackname`
~RackA\Cnd\COP2COT Measure | Cond Saturation `%rackname`
~RackA\Cnd\Splt Measure | Cond Split Active `%rackname`
Refrigerant Low SR Value RackA | Cond Subcooling Actual `%rackname`
SR Setpoint Rack A Measure | Cond Subcooling Setpoint `%rackname`
~RackA\Cnd\DP Measure | Discharge Pressure Actual `%rackname`
Discharge Temp Rack A | Discharge Tmp `%rackname`
~RackA\SGr1\RefLevel Measure | Refrigerant Level `%rackname`
Anti-Sweat #1 Humidity | Store Humidity
Outside Humidity | Store Outside Humidity
Outside Temp | Store Outside Temp
Anti-Sweat #1 Dew point Measure | Store Temp
~RackA\SGr1\SP Measure | Suction Pressure Actual `%rackname` `%sgname`
~RackA\SGr1\SpStPt Measure | Suction Pressure Setpoint `%rackname` `%sgname`
Suction Temp -28 Rack A | Suction Temp `%rackname` `%sgname`
~A01 POS Freezer #1\Defrost Temp | System Defrost Temp `%rackname` `%sgname` `%sysname`
A01 EEPR % Measure | System EEPR `%rackname` `%sgname` `%sysname`
~EEPR #1 Rack B\Air Temp Valve 2 Measure | System Temp `%rackname` `%sgname` `%sysname`