## Points
Variable Name | Type | FN 1 | KN 1 | FN 2 | KN 2 | FN 3 | KN 3 | FN 4 | KN 4
Comp Discharge Temp `%rackname` `%sgname` `%compname` | sensor |  | tba sensor
Comp RUN `%rackname` `%sgname` `%compname` | point | `%rackname` `%sgname` `%compname` Run Measure | ~RackA\SGr1\Cmp1\Run Measure |  | TC SG1 Run cmp1 A Measure
Comp SLA `%rackname` `%sgname` `%compname` | point | `%rackname` `%sgname` `%compname` SLA Measure | ~RackA\SGr1\Cmp1\SLA Measure |  | TC SG1 SLA cmp1 A Measure
Cond Fan Amps `%rackname` `%fannum` |  |  | to be added
Cond Fan RUN `%rackname` `%fannum` |  | `%rackname` Cnd `%fannum` Measure | ~RackB\Cnd\Fan1 Measure
Cond Out Pres Subcooling `%rackname` |  |  | tba
Cond Out Pressure Actual `%rackname` |  | `%rackname` Cnd COP Measure | ~RackB\Cnd\COP Measure
Cond Out Pressure Temp `%rackname` |  | `%rackname` Cnd DLT Measure | ~RackB\Cnd\DLT Measure
Cond Pressure Setpoint `%rackname` |  | `%rackname` Cnd CtrlStPt Command | ~RackB\Cnd\CtrlStPt Command
Cond Saturation `%rackname` |  | `%rackname` Cnd COP2COT Measure | ~RackB\Cnd\COP2COT Measure
Discharge Pressure Actual `%rackname` `%sgname` |  | `%rackname` Cnd COP Measure | ~RackA\Cnd\DP Measure
Discharge Pressure Setpoint `%rackname` `%sgname` |  | `%rackname` `%sgname` DpTripPt Command | ~RackA\SGr1\DpTripPt Command
Discharge Temp `%rackname` `%sgname` |  | Discharge Temp `%rackname` | Discharge Temp Rack A
Liquid Subcooling `%rackname` `%sgname` |  | Subcool `%rackname` Cond Subcooling Measure | ~Subcool Rack A\Cond Subcooling Measure
Liquid Temp `%rackname` `%sgname` |  | Subcool `%rackname` LQT Out - Subcooler 1 Measure | ~Subcool Rack A\LQT Out - Subcooler 1 Measure
Loads EEPR `%rackname` `%sgname` `%sysname` |  | `%rackname` `%sysname` EEPR % Measure | A01 EEPR % Measure
Loads Setpoint `%rackname` `%sgname` `%sysname` |  |  | ~EEPR #1 Rack A\Effect SetPt Valve 1 Measure
Loads Temp `%rackname` `%sgname` `%sysname` |  |  | ~EEPR #1 Rack A\Air Temp Valve 2 Measure
Outside Air Temp |  | Outside Air Temperature Measure | Outside Air Temperature Measure
Suction Pressure Actual `%rackname` `%sgname` |  | `%rackname` `%sgname` SP Measure | ~RackA\SGr1\SP Measure
Suction Pressure Setpoint `%rackname` `%sgname` |  | `%rackname` `%sgname` SpStPt Measure | ~RackA\SGr1\SpStPt Measure
Suction Temp `%rackname` `%sgname` |  | Suction Temp `%sgname` `%rackname` | Suction Temp -28 Rack A

## Glen Erin
Default IO Variable Names | Glen Erin
| Name 1 | MasterKey 1 | Name 2 | Masterkey 2
`Store`
Outside Air Temp
`Condenser`
Cond Fan Amps `%rackname` `%fannum` |  | 19 | ~RackA\Cnd\OAT Measure | 15
Cond Fan RUN `%rackname` `%fannum` | ~RackA\Cnd\Fan1 Measure
Cond Out Pres Subcooling `%rackname`
Cond Out Pressure Actual `%rackname` | ~RackB\Cnd\COP Measure | 1728
Cond Out Pressure Temp `%rackname` | ~RackB\Cnd\DLT Measure | 1726
Cond Pressure Setpoint `%rackname` | ~RackB\Cnd\CtrlStPt Command | 176
Cond Saturation `%rackname` | ~RackB\Cnd\COP2COT Measure | 1730
Suction Pressure Actual `%rackname` `%sgname` | ~RackA\SGr1\SP Measure | 40
Suction Pressure Setpoint `%rackname` `%sgname` | ~RackA\SGr1\SpStPt Measure | 37 | ~RackA\SGr1\SpStPt Command | 38
Suction Temp `%rackname` `%sgname`
`Suction Group`
Discharge Pressure Actual `%rackname` `%sgname` | ~RackA\SGr1\DpTripPt Command | 46 | ~RackA\SGr1\DpRstPt Command | 48
Discharge Pressure Setpoint `%rackname` `%sgname` | ~RackA\Cnd\DP Measure | 11
Discharge Temp `%rackname` `%sgname`
Liquid Subcooling `%rackname` `%sgname`
Liquid Temp `%rackname` `%sgname`
`System`
Loads EEPR `%rackname` `%sgname` `%sysname`
Loads Setpoint `%rackname` `%sgname` `%sysname` | ~A EEPR 1\Effect SetPt Valve 1 Measure | 1568
Loads Temp `%rackname` `%sgname` `%sysname` | ~A EEPR 1\Air Temp Valve 1 Measure | 1570
`Compressor`
Comp Discharge Temp `%rackname` `%sgname` `%compname`
Comp RUN `%rackname` `%sgname` `%compname` | ~RackA\SGr1\Cmp1\Run Measure | 60
Comp SLA `%rackname` `%sgname` `%compname` | ~RackA\SGr1\Cmp1\SLA Measure | 58

## Template
Default IO Variable Names | Store
| Name 1 | MasterKey 1 | Name 2 | Masterkey 2
`Store`
Outside Air Temp
`Condenser`
Cond Fan Amps `%rackname` `%fannum`
Cond Fan RUN `%rackname` `%fannum`
Cond Out Pres Subcooling `%rackname`
Cond Out Pressure Actual `%rackname`
Cond Out Pressure Temp `%rackname`
Cond Pressure Setpoint `%rackname`
Cond Saturation `%rackname`
Suction Pressure Actual `%rackname` `%sgname`
Suction Pressure Setpoint `%rackname` `%sgname`
Suction Temp `%rackname` `%sgname`
`Suction Group`
Discharge Pressure Actual `%rackname` `%sgname`
Discharge Pressure Setpoint `%rackname` `%sgname`
Discharge Temp `%rackname` `%sgname`
Liquid Subcooling `%rackname` `%sgname`
Liquid Temp `%rackname` `%sgname`
`System`
Loads EEPR `%rackname` `%sgname` `%sysname`
Loads Setpoint `%rackname` `%sgname` `%sysname`
Loads Temp `%rackname` `%sgname` `%sysname`
`Compressor`
Comp Discharge Temp `%rackname` `%sgname` `%compname`
Comp RUN `%rackname` `%sgname` `%compname`
Comp SLA `%rackname` `%sgname` `%compname`