## Sheet1
Variable Name | Name A | Name B | Name C | Name D
Comp Discharge Temp `%rackname` `%sgname` `%compname` | tba sensor
Comp RUN `%rackname` `%sgname` `%compname` | ~RackA\SGr1\Cmp1\Run Measure
Comp SLA `%rackname` `%sgname` `%compname` | ~RackA\SGr1\Cmp1\SLA Measure
Cond Fan Amps `%rackname` `%fannum` | to be added
Cond Fan RUN `%rackname` `%fannum` | ~RackB\Cnd\Fan1 Measure
Cond Out Pres Subcooling `%rackname` | tba
Cond Out Pressure Actual `%rackname` | ~RackB\Cnd\COP Measure
Cond Out Pressure Temp `%rackname` | ~RackB\Cnd\DLT Measure
Cond Pressure Setpoint `%rackname` | ~RackB\Cnd\CtrlStPt Command
Cond Saturation `%rackname` | ~RackB\Cnd\COP2COT Measure
Discharge Pressure Actual `%rackname` `%sgname` | ~RackA\Cnd\DP Measure
Discharge Pressure Setpoint `%rackname` `%sgname` | ~RackA\SGr1\DpTripPt Command
Discharge Temp `%rackname` `%sgname` | Discharge Temp Rack A
Liquid Subcooling `%rackname` `%sgname` | ~Subcool Rack A\Cond Subcooling Measure
Liquid Temp `%rackname` `%sgname` | ~Subcool Rack A\LQT Out - Subcooler 1 Measure
Loads EEPR `%rackname` `%sgname` `%sysname` | A01 EEPR % Measure
Loads Setpoint `%rackname` `%sgname` `%sysname` | ~EEPR #1 Rack A\Effect SetPt Valve 1 Measure
Loads Temp `%rackname` `%sgname` `%sysname` | ~EEPR #1 Rack A\Air Temp Valve 2 Measure
Outside Air Temp | Outside Air Temperature Measure
Suction Pressure Actual `%rackname` `%sgname` | ~RackA\SGr1\SP Measure
Suction Pressure Setpoint `%rackname` `%sgname` | ~RackA\SGr1\SpStPt Measure
Suction Temp `%rackname` `%sgname` | Suction Temp -28 Rack A